## Assets List
Asset Import Template
Building * | Asset Name * | Description * | Qty * | Physical Location * | Service Location | Asset Category * | Make | Model | Serial Number | Parent Asset | Filter Qty | Filter Size - Type | Belt Description | Filter #2 Qty | Filter #2 Size - Type | Belt #2 Description
Note on A5: Enter name of building exactly as it is in the BuiltSpace system.
Note on E5: Enter name of location in the following format: Floor - Name of Area (The dash is very important. It splits apart what is a floor and what is a space) Some examples: This is how you would define parking stall 12 on parking level 1: P1 - Stall 12 Let's say you have an RTU on the SW Corner of the Roof Top. It would look something like this: Roof - SW Corner If you had a Unit Heater in suite 503 on the fifth floor of an appartment building, you would define the space this way: 5th Floor - Suite 505 (or 5 - Suite 505)
Note on F5: Enter name of location in the following format: Floor - Name of Area (The dash is very important. It splits apart what is a floor and what is a space) Some examples: This is how you would define parking stall 12 on parking level 1: P1 - Stall 12 Let's say you have an RTU on the SW Corner of the Roof Top. It would look something like this: Roof - SW Corner If you had a Unit Heater in suite 503 on the fifth floor of an appartment building, you would define the space this way: 5th Floor - Suite 505 (or 5 - Suite 505)
Note on G5: Please select from the drop-down list.

## Additional Columns
Additional Columns
The following is a list of additional columns that are optional. Please add them to the right of the table in the "Asset List" worksheet if you want to include them in your import.
If you include any of these additional columns, please send the this spreadsheet to us for upload. Our built-in asset import sheet located on the Assets page of your BuiltSpace organization site will not allow for these to be uploaded without our help.
Installation Date | Warranty End Date | Warranty Description | Replacement Cost | Expected Lifetime | Expected Lifetime Unit | Expected Replacement Date | Equipment Tag Number | Asset Status | Measured Consumption | PM Frequency | PM Frequency Unit | Zone Name | Latitude | Longitude
Note on M6: This is the name of the zone that the asset services. (Security zones, temperature zones, fire safety zones, etc.)

## Asset Categories
HVAC - HVAC
Appliances - Appliances
Water Heaters - Water Heaters
Electronics - Electronics
Lighting - Lighting
Food Service - Food Service
Office Equipment - Office Equipment
Motors, Fans, Pumps - Motors, Fans, Pumps
Machinery - Machinery
Electrical System - Electrical System
Plumbing System - Plumbing System
Wastewater System - Wastewater System
Windows and Doors - Windows and Doors
Interior Structure - Interior Structure
Furniture - Furniture
Other - Other
Plumbing Fixtures - Plumbing Fixtures
Life Safety - Life Safety
Electrical System - ATS
Electrical System - Capacitor Bank
Electrical System - Circuit Breaker
Electrical System - Circuit Switcher
Electrical System - Current Transformer
Electrical System - Distribution Panel
Electrical System - Engine Generator
Electrical System - Power Factor Correct
Electrical System - Reactor
Electrical System - Surge Arrester
Electrical System - Switch
Electrical System - Switchboard
Electrical System - Switchgear
Electrical System - Switchgear Switchboa
Electrical System - UPS
Electrical System - VFD
Electrical System - Voltage Transformer
HVAC - Air Curtain
HVAC - AHU
HVAC - Air Separator
HVAC - Boiler
HVAC - Chiller
HVAC - Coil
HVAC - Condenser
HVAC - CAV
HVAC - Cooling Tower
HVAC - Damper
HVAC - Energy Recovery Devi
HVAC - Fan Coil Unit
HVAC - Filter
HVAC - Fluid Cooler
HVAC - Fume Exhausters
HVAC - Glycol Mixing Fill T
HVAC - Heat Exchanger
HVAC - Heat Pump
HVAC - Heat Recovery Vent
HVAC - Humidifier
HVAC - Makeup Air Unit
HVAC - Radiant Panel
HVAC - Re-heat Coil
HVAC - Unit Heater
HVAC - VAV
Motors, Fans and Pumps - Fan
Motors, Fans and Pumps - Motor
Motors, Fans and Pumps - Pump
Water Heaters - DHWT
HVAC - RTU
HVAC - Ductless Split
HVAC - Window Unit
HVAC - Wall Unit
HVAC - Overhead Heater
HVAC - Split AC System
HVAC - Gas Heater
HVAC - PTAC
HVAC - AC
HVAC - PNEU and ELEC
Plumbing Fixtures - Backflow Preventer
Other - Storage Tank
Refrigeration - Refrigeration
Digital Imaging - Digital Imaging
Digital Imaging - XR (BMD)
Digital Imaging - XR (Fluor)
Digital Imaging - Mammo
Digital Imaging - US
Digital Imaging - XR
Digital Imaging - XR (CA)
Digital Imaging - RF
Digital Imaging - FIC
Digital Imaging - FFP
Digital Imaging - ST
Digital Imaging - FMR
Digital Imaging - FSR
Digital Imaging - MRI
Digital Imaging - CT
HVAC - Expansion Tank
HVAC - VRF-Fan Coil Unit
HVAC - VRF-Outdoor Unit
HVAC - Split AC Syst-BC
HVAC - Split AC SystC
HVAC - VRF-Branch Cont
HVAC - PRV Station
Motors, Fans and Pumps - Pump - Sump
Life Safety - Fire Extinguisher
Life Safety - Smoke Detector
Life Safety - Fire Protection Sys
HVAC - Furnace
HVAC - Valve
Motors, Fans and Pumps - Fan - Belt Drive
Motors, Fans and Pumps - Fan - Direct Drive
Motors, Fans and Pumps - Pump - Circulation
Automation & Controls - Thermostat
Automation & Controls - Controller - Boiler
Automation & Controls - Sensor - Gas
Automation & Controls - Time Clock
Auto & Controls - Auto & Controls
Exterior Structure - Exterior Structure
Exterior Structure - Exterior Roof
Wastewater System - CB / OI
Exterior Structure - Grounding Sys
Motors, Fans and Pumps - Fan - Inline
Motors, Fans and Pumps - Fan - Utility
Motors, Fans and Pumps - Fan - Axial
Electrical System - Power Gen
Electrical System - Power Gen - Wind
Electrical System - Power Gen - Solar
Electrical System - Power Gen - Hydro
Electrical System - Energy Meter
HVAC - Pot Feeder
Uncategorized - Uncategorized
Foundations - Foundations
Foundations - Standard Foundations
Foundations - Special Foundations
Foundations - Slab on Grade
Basement Construct - Basement Construct
Basement Construction - Basement Excavation
Basement Construction - Basement Walls
Superstructure - Superstructure
Superstructure - Floor Construction
Superstructure - Roof Construction
Exterior Structure - Exterior Walls
Exterior Structure - Exterior Windows
Exterior Structure - Exterior Doors
Roofing - Roofing
Roofing - Roof Coverings
Roofing - Roof Openings
Walls, Ceilings, Flooring - Partitions
Walls, Ceilings, Flooring - Interior Doors
Walls, Ceilings, Flooring - Fittings
Stairs - Stairs
Stairs - Stair Construction
Stairs - Stair Finishes
Interior Finishes - Interior Finishes
Interior Finishes - Wall Finishes
Interior Finishes - Floor Finishes
Interior Finishes - Ceiling Finishes
Conveying - Conveying
Conveying - Elevators & Lifts
Conveying - Escalators & Walks
Conveying - Other Con Systems
Plumbing System - Dom Water Distrib
Plumbing System - Sanitary Waste
Plumbing System - Rain Water Drainage
Plumbing System - Other Plumb Syst
HVAC - Energy Supply
HVAC - Heat Gen Systems
HVAC - Cooling Gen Systems
HVAC - Distribution Systems
HVAC - Term & Package Units
Fire Protection - Fire Protection
Fire Protection - Sprinklers
Fire Protection - Standpipes
Electrical System - Light and Br Wiring
Equipment - Equipment
Equipment - Commercial Equipment
Equipment - Institutional Equip
Equipment - Vehicular Equipment
Equipment - Other Equipment
Furniture - Movable or Installed - Fixed Furnishings
Furniture - Movable or Installed - Movable Furnishings
Special Construction - Special Construction
Special Construction - Special Structures
Special Construction - Integ Construction
Special Construction - Special Constr Syst
Special Construction - Special Facilities
Special Construction - Spec Controls & Inst
Select Build Demo - Select Build Demo
Selec Building Demo - Build Elements Demo
Selec Building Demo - Hazard Comp Abate
Lighting - Interior Lighting
Lighting - Exterior Lighting
Lighting - Parkade Lighting
Lighting - Balasts
Lighting - Lamps
Machinery and Tools - Forklifts
Machinery and Tools - Scissor Lifts
Machinery and Tools - Boom Lifts
Machinery and Tools - Cranes
HVAC - Air Compressor
Automation & Controls - Controller
Refrigeration - Cooler
Lighting - Office Lighting
Shower - Washrooms
Washrooms - Shower
Washrooms - Toilette
Washrooms - Vanity
Washrooms - Sink
Washrooms - Bathtub
Washrooms - Urinal
Furniture - Movable or Installed - Couch
Furniture - Movable or Installed - Bed
Furniture - Movable or Installed - Table
Furniture - Movable or Installed - Chair
Furniture - Movable or Installed - Desk
Life Safety - Eye Wash
Automation & Controls - Controller - DDC
HVAC - Heat Pump -WC
Refrigeration - Freezer
Refrigeration - Ice Machine
HVAC - Patio Heater
Appliances - Jockey Station
Appliances - Dishwasher
Appliances - Oven
Appliances - Range
Appliances - Deep Fryer
Appliances - Grill
Appliances - Broiler
Appliances - Toaster
Appliances - Microwave
HVAC - Elec BB Heater
HVAC - Tube Heater
Motors, Fans and Pumps - Grease Xtr Fan
Plumbing Fixtures - Grease Trap
Motors, Fans and Pumps - Hood Cannopy Fan
Hot Line - Hot Line
Cold Line - Cold Line
HVAC - Deaerator
Equipment - Day Tank
Electronics - Camera
Plumbing Fixtures - Water Filter
HVAC - Split System - AHU
HVAC - Split System - CU
HVAC - Ceiling Cassette
Fire Protection - Fire Panel
Life Safety - Manual Pull Station
Life Safety - General Alarm
Life Safety - Heat Detector, Rest.
Life Safety - Heat Detector Non-Re
Life Safety - Duct Smoke Detector
Life Safety - Remote Indicator
Life Safety - Speaker
Life Safety - Visual Signal
Life Safety - Speaker Strobe
Life Safety - Horn
Life Safety - Horn Strobe
Life Safety - Bell
Life Safety - Emergency Telephone
Life Safety - End-of-Line Resistor
Life Safety - Flow Switch (Dry)
Life Safety - Flow Switch (Wet)
Life Safety - Sprinkler Supervisor
Life Safety - Low Pressure Device
Life Safety - Field Support
Life Safety - Addressable Relay
Life Safety - Fault Iso. Base
Life Safety - Fault Iso. Module
Life Safety - Synch. Module
Life Safety - Ancillary Devices
Appliances - Blender
HVAC - Other HVAC
HVAC - Chem H2o Treatment
Plumbing Fixtures - Flush Valves
Plumbing Fixtures - Faucets
Appliances - Coffee Machine
HVAC - Ducting Distribution
HVAC - Induction Units
HVAC - Coil Control Valves
HVAC - VRF Refrig Flow Cont
Plumbing Fixtures - Water Cooler
HVAC - VRF Heat Exchanger
Whole Building - Whole Building
Grounds - Grounds
Linear Asset - Lawn Tractor
Manhole - Snow Blower
Infrastructure DES - Television Set
Infrastructure Gas - Exterior Building
Infrastructure Water - Interior Building
Infrastructure Water - Backflow Device
Infrastructure Sewer - Marine
Infrastructure Storm - Vessel
Infrastructure Elec - Dock
Infrastructure Plant - Water Pump
CEC - Condensate Pump
Landscaping - Air Dryer
Overhead Door - Exhaust Fan
Infrastructure Steam - Evaporator Coil
Mechanical System - Electrical Heater
Fire Sprinkler Sys - Duct Heater
Fire Separation Sys - Split System Evap
NP Water System - Thermal Power
Domestic Water Sys - District Heat Loop
Smoke EVAC - Linear Asset
Pressurization - Sidewalk
Vertical System - EWH
Refrig Industrial - Manhole
Digester - Infrastructure DES
Pressure Vessel - DES Manhole
Swimming Pool - DES Valve
Ice Rink - DES Meter
Isolation Room - Infrastructure Gas
Cleaning - Gas Valve
Product Catalogue - Gas Meter
Spaces - Gas Cathodic Pro
Pneumatic Station - Infrastructure Water
Return Air Blower - Water Valve
Dehumidification - Water Hydrant
Reciprocatng Grate - Water Meter
Alarm Emitter - Water PRV
Boiler Chem Station - WQM Station
Water Columns - Infrastructure Sewer
Burner - Sanitary Manhole
Dust Vacuum Tools - Sanitary Liftstation
Damper Motor - Sanitary Mtr Chmbr
Air Pump - Infrastructure Storm
Chemical SUB - Building Pump
Flatbed Iron - Storm Sewer Liftstn
Climate changer - Storm Sewer Manhole
Electrical SUB - Storm Sewage stn
Pressurization Fan - Infrastructure Elec
Facility Mg Sys - Electric Manhole
Fridge - Electric Substation
Compactor - Infrastructure Plant
Purge - Plant Generator
HWH - Plant Filter
Ice-Machine - Plant Sensors
Microprocessor CS - Plant Fuel
Operator Station - Plant Gasifier
Wall Panels - Plant Oxidizer
Radiation Unit - Plant Eng Ht Exch
Sprinkler Compressor - Plant Engine
S to W Heat HEX - Plant Feed Water
Vacuum Controller - Plant Burn Hydraul
Fireplace - Plant Ash
Plumbing SUB - Plant N and CA Sys
Infrastructure Comm - CEC
CSI DIV 3 - CEC Electrical
Institutional Equip - Building Services
Infrastructure Electrical - Electric CB
Infrastructure Electrical - Electric LB Switch
Infrastructure Electrical - Electric Prot Relay
Infrastructure Electrical - Electric Transformer
Infrastructure District Energy - DES Air Vent
Infrastructure Electrical - Electric Meter
Infrastructure Plant - DIST Hot W Pumps
Infrastructure Plant - DIST Bask Strainers
Infrastructure Plant - DIST Cond Pumps
Infrastructure Plant - HEAT PL Boilers
Infrastructure Plant - HEAT PL Tanks
Infrastructure Plant - HEAT PL Exp Tanks
Infrastructure Plant - HEAT REC Heat Exch
Infrastructure Plant - UTIL Heat Exch
Infrastructure Plant - UTIL Air Comp
Infrastructure Plant - EXHA Ex Fans
Infrastructure Plant - EXHA Ex Stacks
Infrastructure Plant - EXHA Motor Dumpers
Infrastructure Plant - FUEL OIL Pumps
Infrastructure Plant - FUEL OIL Tanks
Infrastructure Plant - Generator
Infrastructure Plant - Inf Filter
Infrastructure Plant - Sensors
NULL - Landscaping
NULL - Overhead Door
Fire Protection - Remote Annunciators
Fire Protection - Pull Stations
Fire Protection - Alarm
Fire Protection - Smoke Detector
Fire Protection - Heat Detector
Fire Protection - Strobe
Fire Protection - Horn
Fire Protection - Relay Module
Fire Protection - Remote Indicator
Fire Protection - Sprink Flow Switch
Fire Protection - Fault Isolation Dev
Fire Protection - Sprink Low Pres Sw
Infrastructure Plant - Plant General
Infrastructure Plant - Chem Tests Additions
Infrastructure Plant - Plant Maintenance
Infrastructure Plant - Oil Backup System
Infrastructure Plant - Distribution Pumps
NULL - Infrastructure Steam
Infrastructure Steam - Steam Trap
Infrastructure Steam - Expansion Joint
Infrastructure Steam - Steam Valve
Infrastructure Plant - Plant System
Infrastructure Plant - Turbine
Infrastructure Plant - Blowdown Tank
Infrastructure Plant - Flash Tank
Infrastructure Plant - Sootblower
HVAC - Chiller Centrifugal
HVAC - Chiller Heat Recov.
HVAC - Chiller Screw
HVAC - Chiller Scroll
NULL - Mechanical System
Whole Building - Building Systems
NULL - Fire Sprinkler Sys
HVAC - Ventilation
Plumbing System - Water System
Plumbing System - Storm System
Plumbing System - Sanitary System
HVAC - Heating
NULL - Fire Separation Sys
Fire Separation System - Fire Dampers
Fire Separation System - Fire Door
HVAC - VRF
HVAC - VRF-Refr Flow Cont.
HVAC - Hydronic Heating
NULL - NP Water System
NULL - Domestic Water Sys
NULL - Smoke EVAC
NULL - Pressurization
Hydronic Heating - Hydraulic Separator
Hydronic Heating - Perimeter Radiator
HVAC - Vent. > Exhaust
HVAC - Outdoor Air Vent
Fire Protection Sprinkler Sys - Fire Mains
Fire Protection Sprinkler Sys - Sprinkler Zone Valve
NULL - Vertical System
Electrical System - Variable Speed Drive
Machinery and Tools - Diesel Engine
Infrastructure Water - Hydro Meter
Infrastructure Natural Gas - BTU Meter
HVAC - Outdoor Unit
Electrical System - Meter Point
Infrastructure Plant - Oxygen Transmitter
Infrastructure Plant - Opacity Sensor
Infrastructure Plant - Ignition Transformer
Infrastructure Plant - Fuel Unloading Rake
Infrastructure Plant - Conduct. Transmit.
Infrastructure Plant - Disc Screen
Infrastructure Plant - Electromagnet
Infrastructure Plant - Gasifier Vessel
Infrastructure Plant - Gasifier Mtrg Bin
Infrastructure Plant - Gasfr Vert Feed Scrw
Infrastructure Plant - Electrost Precip Vsl
Infrastructure Plant - Oxidizer Vessel
Infrastructure Plant - Stack Silencer
Infrastructure Plant - Water Softener
Infrastructure Plant - Condensate Tank
Infrastructure Plant - Oxidizer Burner
Infrastructure Plant - Heat Recov Steam Gen
Infrastructure Plant - Hydraulic Unit
Infrastructure Plant - Hydrauilc Cylinder
Infrastructure Plant - Ash Bin
Infrastructure Plant - Flow Control Valve
Infrastructure Plant - Burner Safety SO VLV
Infrastructure Plant - Solenoid Valve
Infrastructure Plant - Safety Relief Valve
Infrastructure Plant - Engine Exhaust Valve
Infrastructure Plant - Coolant Control Vlv
Infrastructure Plant - Flow Transmitter
Infrastructure Plant - Elec Current Transm.
Infrastructure Plant - Routine Sheet
Infrastructure Plant - Level Switch High
Infrastructure Plant - Level Switch Low
Infrastructure Plant - Level Transmitter
Infrastructure Plant - Low Water Cutout
Infrastructure Plant - Limit Switch
Infrastructure Plant - Zero Speed Switch
Infrastructure Plant - Damper Drive
Infrastructure Plant - Nitrogen Generator
Infrastructure Plant - Pressure Switch
Infrastructure Plant - Pressure Transmitter
Infrastructure Plant - Temp Indicator Gauge
Infrastructure Plant - Vibrator Unit
Infrastructure Plant - CO Detector
Conveying - Fuel Transfer Convey
Conveying - Twn Scrw Trns Convey
Conveying - Fuel Unload.Conveyor
Conveying - Fuel Elevat Conveyor
Conveying - Ash Screw Conveyor
Conveying - Main Ash Conveyor
Conveying - Screw Conveyor
Machinery and Tools - Gas Engine
Thermal Power - District Heat Exchng
Infrastructure Plant - Chem Feed Station
Infrastructure Plant - Ash Screws and Gate
Infrastructure Plant - ESP Transf and Panls
Infrastructure Plant - Burst Panel
Life Safety - Fall Protection
Motors, Fans and Pumps - Reduction Gear
HVAC - Steam Boiler
Other - Tools
Infrastructure Plant - Temperature Switch
Infrastructure Plant - STHW Heat Exchanger
Infrastructure Plant - Flow Switch
Infrastructure Plant - Burst Disc
HVAC - Gauge
Infrastructure Plant - Indicator
Infrastructure Plant - Temp. Transmitter
Infrastructure Plant - Sensing Element
Infrastructure Plant - Oil Filter
Infrastructure Plant - Fluid Filter
HVAC - Positive Displ Pump
HVAC - Control Valve
Infrastructure Plant - Level Indicator
NULL - Refrig Industrial
Refrigeration Industrial - Refrig Class A1
Refrigeration Industrial - Refrig Class A2
Refrigeration Industrial - Refrig Class A3
Refrigeration Industrial - Refrig Class B1
Refrigeration Industrial - Refrig Class B2 NH3
Refrigeration Industrial - Refrig Class B3
NULL - Digester
NULL - Pressure Vessel
NULL - Swimming Pool
NULL - Ice Rink
Ice Rink - Ice Rink Natural
Ice Rink - Ice Rink Chilled
Infrastructure Water - Water Meter (Wired)
NULL - Isolation Room
HVAC - Lab AHU
Motors, Fans and Pumps - PCW - Pump
Motors, Fans and Pumps - Chilled Water Pump
HVAC - AHU HEPA
Motors, Fans and Pumps - VE - Fan
Automation & Controls - Access Controller
Automation & Controls - Access Card Reader
NULL - Cleaning
Cleaning/Sanitization - Hand Sani St
Cleaning/Sanitization - UV Light
Cleaning/Sanitization - Steam Cleaner
Cleaning/Sanitization - Floor Scrubber
Cleaning/Sanitization - Ozone Generator
NULL - Product Catalogue
NULL - Spaces
Appliances - Payment Machine
Spaces - Hallway
Spaces - Common Area
Spaces - Leased Space
Infrastructure Electrical - Cathodic Prot Sys
Spaces - Conference Room
Spaces - Change Room
Spaces - Fitness Center
Motors, Fans and Pumps - Storm Sump Pump
NULL - Pneumatic Station
NULL - Return Air Blower
Motors, Fans and Pumps - Fire Pump
Electrical System - Variable Air Volume
NULL - Dehumidification
Conveying - Drag Ch Conveyor
Conveying - Bucket Elev Conveyor
NULL - Reciprocatng Grate
Infrastructure Plant - Metering Bin
Infrastructure Plant - Gas Transmitter
Infrastructure Plant - Opacity Transmitter
Life Safety - Gas Detector
Infrastructure Plant - Gas Analyzer
Infrastructure Plant - Auto Blow Down Sys
NULL - Alarm Emitter
Infrastructure Plant - Hydraulic Rake
Infrastructure Plant - Centrifugal Air Fan
Infrastructure Plant - Air to Air HEX
Infrastructure Plant - Exhaust Silencers
Infrastructure Plant - Jenbacher Generator
Infrastructure Plant - Water Softeners
Infrastructure Plant - Elcstatic Precip.
Infrastructure Plant - F to F Heat HEX
Infrastructure Plant - F to A Heat HEX
Infrastructure Plant - Catalytic converter
NULL - Boiler Chem Station
NULL - Water Columns
NULL - Burner
Infrastructure Plant - Hydraulic Pump
Infrastructure Plant - Hydraulic Cylinder
Infrastructure Plant - Ash Bunker
Automation & Controls - Fuel Scr Device
Automation & Controls - Air Flow Control
Automation & Controls - Fluid Control Valve
Automation & Controls - Burner Control
Automation & Controls - Solid Fuel Sensing
Automation & Controls - Fluid Sensing Switch
Automation & Controls - Fluid transmitter
Automation & Controls - Radar System
Motors, Fans and Pumps - Gear Drives
Motors, Fans and Pumps - Mltistage Cent Pump
Motors, Fans and Pumps - Chemical Pump
HVAC - Burner SSV
NULL - Dust Vacuum Tools
Infrastructure Plant - ESP Hammer
Automation & Controls - Pressure Sfty Device
HVAC - Temp Gauge
Infrastructure Plant - Vibration Unit
Infrastructure Plant - Wht sensing device
Infrastructure Plant - Elec Transformer
Infrastructure Plant - Pressure Gauge
HVAC - Hot Water Boiler
Infrastructure Plant - Emergency Generator
Infrastructure Plant - Seismic Switch
Infrastructure Plant - A to F Heat HEX
Motors, Fans and Pumps - Single Sg. Ct. Pump
Automation & Controls - Pressure Regulator
Infrastructure Plant - Fuel Tank
Infrastructure Plant - Fluid Tank
HVAC - Maj. Iso Valve
HVAC - Minor Iso Valve
HVAC - Chemical Feeder
NULL - Damper Motor
Infrastructure Plant - Air Compressor St.
HVAC - Air Cooled Chiller
HVAC - Condensing Unit
Automation & Controls - Controller - AHU
HVAC - AHU - Built Up
NULL - Air Pump
HVAC - Automatic Air Vent
HVAC - Boiler DHW
HVAC - Boiler-Atmospheric
HVAC - Boiler Burner
Motors, Fans and Pumps - Booster Fan
HVAC - Booster Heater
HVAC - Booster Pump Systems
HVAC - Controller - Pump
HVAC - Boiler CH
HVAC - Centrifugal Sp.
NULL - Chemical SUB
HVAC - Chiller AC Magnetic
HVAC - Chiller AC Recip
HVAC - Chiller AC Screw
HVAC - Chiller AC Scroll
HVAC - Chiller CP
HVAC - Chiller Starter
HVAC - Chiller WC Magnetic
HVAC - Chiller WC Recip
HVAC - Chiller WC Screw
HVAC - Chiller WC Scroll
HVAC - Chiller Monitor Sys
Appliances - Commercial Washer
NULL - Flatbed Iron
Equipment - Computer Equipment
Automation & Controls - Controls Panel
Automation & Controls - Controls System
HVAC - Cooling Coil
NULL - Climate changer
Automation & Controls - Damper Controls
HVAC - Damper - Boiler
HVAC - Damper - Fresh Air
HVAC - Dehumidifier
Machinery and Tools - Diesel Pump
Appliances - Domestic washer
Motors, Fans and Pumps - Draft Inducer Motor
HVAC - Ecology Unit
HVAC - Hot Tub Heater
HVAC - Pool Heater
HVAC - Wall Heater
NULL - Electrical SUB
NULL - Pressurization Fan
HVAC - Evaporator
Infrastructure Plant - Excess Pressure Pump
Infrastructure Plant - EXHA Fan Motor
Infrastructure Plant - Exhaust System
NULL - Facility Mg Sys
Infrastructure Plant - Filtration System
NULL - Fridge
Automation & Controls - CO Monitor
Automation & Controls - CO Sensor
Automation & Controls - CO System
NULL - Compactor
HVAC - Gas Furnace
Automation & Controls - Gas Regulator
HVAC - Gas Valve Isolation
Electrical System - GTS
HVAC - Glycol Chiller
HVAC - Glycol Heating Sys
HVAC - Glycol Pump
HVAC - Heat Trace
HVAC - Heater
HVAC - Hot Water Pump
NULL - Purge
HVAC - Heating Coil
HVAC - HX Control Valve
NULL - HWH
NULL - Ice-Machine
Motors, Fans and Pumps - Water Sump Pump
Motors, Fans and Pumps - Jockey Pump
NULL - Microprocessor CS
HVAC - Mixing Valve
HVAC - Multi-Zone Unit
NULL - Operator Station
Automation & Controls - Pneumatic CP
Automation & Controls - Pneumatic CS
Automation & Controls - Power Ventor Motor
Motors, Fans and Pumps - Ventilation Fan
NULL - Wall Panels
NULL - Radiation Unit
HVAC - Refrigeratant Comp
HVAC - Refrigerator
Motors, Fans and Pumps - Return fan
HVAC - RTU - Recipricating
HVAC - RTU - Scroll
HVAC - RTU - Packaged
Automation & Controls - Chlorine Controller
Automation & Controls - Chlorine System
Motors, Fans and Pumps - Sanitary Pump
Motors, Fans and Pumps - Sprinkler Pump
NULL - Sprinkler Compressor
NULL - S to W Heat HEX
Automation & Controls - Temperature Controls
HVAC - Unit Ventilator
NULL - Vacuum Controller
Electrical System - Variable Speed Pump
HVAC - Walk-In Cooler
HVAC - Walk-In Fridge
NULL - Fireplace
NULL - Plumbing SUB
Spaces - Wet Lab
Spaces - Dry Lab
Spaces - Kitchen
Spaces - Circulation Space
Spaces - Lounge
Spaces - Storage Room
Spaces - Office
Equipment - Autoclave
Spaces - Entrance/Exit Doors
Spaces - Elev Lobby - Entr/Ex
Spaces - Cafeteria
Spaces - Gymnasium
Spaces - Courtyard
Spaces - Main Office
Spaces - Classroom
NULL - Infrastructure Comm
Infrastructure Communication - Communication Meter
HVAC - Risers
HVAC - PIU
HVAC - Outside Air Fan
HVAC - VAV with Heat
HVAC - Fan Powered Box
HVAC - Fan Powered VAV
Machinery and Tools - Sterionizer
NULL - CSI DIV 3
CSI DIV 3 - Concrete Temp Sensor
CSI DIV 3 - Concrete Slab
CSI DIV 3 - Concrete Column
CSI DIV 3 - Concrete Wall
Electrical System - SL - Self Contained
Electrical System - SL - CT Rated
Spaces - Entrance Lobby
Spaces - Mechanical Room
Spaces - Auditorium
Spaces - Bedroom
Spaces - Classroom - Computer
Spaces - Classroom - Daycare
Spaces - Classroom - Lab
Spaces - Classroom - Multi
Spaces - Classroom - Perform
Spaces - Classroom - Rec Room
Spaces - Classroom - Workshop
Spaces - Copy/Print Room
Spaces - Dish Room
Spaces - Exterior
Spaces - Food Court
Spaces - Garbage/Waste Room
Spaces - Interview Room
Spaces - Kitchenette
Spaces - Laundry Room
Spaces - Library
Spaces - Study Room
Spaces - Mail Room
Spaces - Medical Area
Spaces - Observation Room
Spaces - Office Corridor
Spaces - Office Cubicle
Spaces - Office Private
Spaces - Parking Area
Spaces - Patient Room
Spaces - Public Area
Spaces - Reception Area
Spaces - Retail Store
Spaces - Service Corridor
Spaces - Shipping/Receiving
Spaces - Waiting Room
Spaces - Elevator/Escalator
Spaces - Stairwell
Spaces - Shower Room
Spaces - Washroom
HVAC - Bipolar Ionization
NULL - Institutional Equip
Institutional Equipment - Ecclesiastical
Institutional Equipment - Library Equipment
Institutional Equipment - Theater/Stage Equip
Institutional Equipment - Audio-Visual Equip
Institutional Equipment - Detention Equipment
Institutional Equipment - Laboratory Equipment
Institutional Equipment - Medical Equipment
Institutional Equipment - Mortuary Equipment
Machinery and Tools - Man Lift
Equipment - Diesel Air Comp

## How To Use
How to use this Spreadsheet | Version 2.1
Importing Assets
Fill out the "Asset List" worksheet. Columns marked with a red asterisk (*) are required so make sure these are filled out.
When your list is ready, go to the Assets page in your organization site in BuiltSpace (usually located under the 'Buildings' tab > Assets).
Click the "Add New Asset(s)" button at the top.
Copy/paste the information from your "Asset List" in this spreadsheet into the table on the Assets page in BuiltSpace.
Click "Submit".
Additional Columns
If you need to include more detail for your assets, please use the 'Additional Columns' worksheet.
Fill this worksheet out and send this spreadsheet back to us for upload. You will not be able to upload information with additional columns yourself.